## 22 Drains into Yamuna
S.No | Drain Name | Owning Agency | Flow MLD (DJB, Mar-25) | Flow MGD (DJB, Mar-25) | Flow MGD (DJB, May-26, HT) | pH (05.03.2025) | TSS (05.03.2025) | COD (05.03.2025) | BOD (05.03.2025) | pH (03.06.2026) | TSS (03.06.2026) | COD (03.06.2026) | BOD (03.06.2026) | pH (06.07.2026) | TSS (06.07.2026) | COD (06.07.2026) | BOD (06.07.2026) | Latitude | Longitude | Status of Drain | STP / Treatment | End Point of Disposal | Proposed Action / Timeline | Notes
1 | Sonia Vihar Drain (On Eastern Bank of Yamuna) | MCD | 27.24 | 5.99 |  | 7.6 | 470 | 292 | 116 | 6.8 | 112 | 184 | 80 | 7.1 | 108 | 176 | 74 | 28.7084 | 77.236 | Work in Progress | Sonia Vihar STP (7 MGD, under construction / trial run) | Yamuna River | DJB reports tapping into 7 MGD Sonia Vihar STP (trial run). DPCC still observed flow 10.01.2025, 10.02.2025, 05.03.2025. | DPCC Jul-26 sampling coords: 28.70823, 77.23595. WQ improved sharply Mar-25 (TSS 470) vs Jun-26 (TSS 112).
2 | Najafgarh Drain | I&FC Dept (GNCTD) | 2056.32 | 452.34 | 862 | 7.3 | 118 | 267 | 96 | 7.3 | 116 | 160 | 68 | 7.4 | 120 | 168 | 70 | 28.709 | 77.2286 | Work in Progress (large drain; not feasible to tap whole) | Covered under ISP; ~252 MGD of 453 MGD flow already treated effluent from STPs | River Yamuna | 126 sub-drains incl. Supplementary drain; 20 sub-drains untrapped (target Jun-2025), 5 depend on land, 2 DDA-related; 105 MGD untreated from Haryana via Badshahpur & DD-6 drains. | DJB May-2026 flow (HT): 862 MGD. HT Dec-2025: Najafgarh sub-drains sampled (BOD 70-125).
3 | Magazine Road Drain | MCD | 7.8 | 1.72 |  | No Flow | [11 empty] | 28.6978 | 77.2275 | Tapped | Drain already tapped | River Yamuna (outfall) | Drain already tapped; no flow observed in DPCC/NMCG sampling. | DPCC Jun-26 & Jul-26: no values reported (dry).
4 | Sweeper Colony Drain | MCD | 8.6 | 1.89 | [5 empty] | No Flow | [7 empty] | 28.6901 | 77.2282 | Tapped | Drain already tapped | River Yamuna (outfall) | Drain already tapped; no flow at sampling. | Jun-26 flagged NO FLOW. NMCG Mar-25: no WQ values (no flow).
5 | Khyber Pass Drain | MCD | 1.7 | 0.37 |  | No Flow |  |  |  | No Flow |  |  |  | No Flow |  |  |  | 28.6953 | 77.2279 | Tapped | Drain already tapped | River Yamuna (outfall) | Drain already tapped; no flow observed Mar-25, Jun-26, Jul-26.
6 | Metcalf House Drain | MCD | 17.25 | 3.79 |  | 7.6 | 42 | 104 | 48 | [5 empty] | 134 | 220 |  | 28.6804 | 77.2291 | Tapped | Okhla STPs | Agra Canal | Drain already tapped but flow observed on 05.03.2025 (bypass). | Jul-26: TSS 134 / COD 220 legible; pH & BOD cut off in scan (report DPCC/W/D/2026/223-244//3039).
7 | ISBT Drain (Qudsia Bagh / Mori Gate Drain) | MCD | 43.2 | 9.51 |  | 7.3 | 88 | 173 | 54 | 7.2 | 130 | 212 | 95 | 7.2 |  | 220 | 105 | 28.6695 | 77.2337 | Work in Progress | New Coronation Pillar STP (via Nehru Vihar SPS; rising main from proposed SPS at ISBT Kashmere Gate) | Najafgarh Drain | Alternative to Mori Gate STP. Work order issued 23.12.2022; expected completion Jun-2025. | Jul-26 TSS illegible in scan. DPCC Jul-26 coords: 28.669478, 77.233606.
8 | Tonga Stand Drain | MCD | 7.8 | 1.72 |  | No Flow |  |  |  | No Flow |  |  |  | No Flow |  |  |  | 28.6629 | 77.2407 | Tapped | Drain already tapped | River Yamuna (outfall) | Drain already tapped; no flow observed.
9 | Moat Drain (Vijay Ghat) | MCD |  |  |  | Dry |  |  |  | No Flow |  |  |  | No Flow |  |  |  | 28.6642 | 77.2472 | Tapped (dry) | Drain already tapped | River Yamuna (outfall) | Dry drain, already tapped. | Coords from DPCC monitoring (NMCG lists no coords for Moat).
10 | Shastri Park Drain (On Eastern Bank of Yamuna) | MCD | 5.45 | 1.2 |  | 7.2 | 200 | 287 | 100 | 7.1 | 156 | 200 | 85 | 7.1 | 168 | 216 | 95 | 28.6621 | 77.2547 | To be tapped | Proposed DSTP (feasibility with MCD, DUSIB, DDA, DJB) | Yamuna River | Partially tapped by DJB into Buland Masjid SPS. DSTP feasibility being worked out. Timeline: Dec-2025. | HT Dec-2025: only drain meeting norms at that sampling.
11 | Kailash Nagar Drain (On Eastern Bank of Yamuna) | MCD | 13.62 | 3 |  | 7.5 | 54 | 173 | 52 | 7.3 | 134 | 212 | 84 | 6.9 | 138 | 208 | 80 | 28.6641 | 77.2494 | To be tapped | Proposed Kondli STP (via Geeta Colony & Preet Vihar SPS) | Yamuna River | Feasibility of diverting flow to Kondli STP being worked out jointly (MCD, DUSIB, DDA, DJB). Timeline: Dec-2025.
12 | Civil Mill Drain | MCD | 14.68 | 3.23 |  | No Flow |  |  |  | No Flow |  |  |  | No Flow |  |  |  | 28.6508 | 77.2525 | Tapped | Drain already tapped | River Yamuna (outfall) | Drain already tapped; no flow observed.
13 | Power House / Delhi Gate Drain | MCD | 122.58 | 26.96 | 86.68 | 7.8 | 66 | 243 | 88 | 7.5 | 164 | 204 | 86 | 7.4 | 172 | 212 | 84 | 28.635 | 77.2554 | Partially Tapped | Delhi Gate STPs (68.2 MLD + 10 MLD operational); new 45.46 MLD (10 MGD) STP proposed | Yamuna River | New STP: land allotted by MoHUA/DDA but not yet handed over; 18 months construction after award; HLC exploring 10 MGD STP after demolishing 2.2 MGD Phase-I STP. Timeline: Jun-2027. | DJB May-2026 flow (HT): 86.68 MGD.
14 | Sen Nursing Home Drain | MCD | 43.2 | 9.5 | 26.35 | 7.4 | 134 | 327 | 124 | 7.3 | 208 | 224 | 94 | 7.2 | 212 | 232 | 98 | 28.6205 | 77.2516 | Partially Tapped | Sen Nursing Home STP (partial) + Okhla STP (remaining) | Yamuna River (from Sen NH STP); Agra Canal (from Okhla STP) | Untapped overflow to be tapped into Ring Road Trunk Sewer -> Okhla STP. Timeline: Jun-2026. | DJB May-2026 flow (HT): 26.35 MGD.
15 | Drain No. 12A | Not in NMCG Annexure-3 | [7 empty] | No Flow |  |  |  | No Flow |  |  |  | 28.62 | 77.2533 | No Flow (Jun-26 & Jul-26) | Not listed | River Yamuna (outfall) | No flow observed in DPCC Jun-26 & Jul-26 monitoring. | Listed in DPCC monitoring only (DPCC/W/D/2026/200-222// and 223-244//3039). Coords from DPCC.
16 | Drain No. 14 | MCD | 25.87 | 5.69 |  | No Flow |  |  |  | 7.3 | 62 | 96 | 36 | 7.3 | 64 | 92 | 32 | 28.6116 | 77.2518 | Tapped | Drain already tapped | River Yamuna (outfall) | Drain already tapped. Flow returning: WQ samples Jun-26 & Jul-26 (BOD 36/32). | Best WQ among flowing drains in Jun/Jul-26 sampling.
17 | Barapulla Drain | MCD | 145.15 | 31.97 | 151.61 | 7.5 | 90 | 223 | 92 | 7.2 | 218 | 288 | 115 | 7.1 | 216 | 280 | 130 | 28.5832 | 77.264 | Work in Progress | Proposed Okhla STP (interceptor sewer via micro tunnelling) | Agra Canal | Interception of Barapullah flow by interceptor sewer (micro tunnelling) to Okhla STP in progress; expected completion May-2025. | DJB May-2026 flow (HT): 151.61 MGD. WQ worsening despite interceptor work.
18 | Maharani Bagh Drain | MCD | 30.24 | 6.65 |  | 7.5 | 210 | 262 | 88 | 7.4 | 172 | 220 | 94 | 7.2 | 170 | 220 | 90 | 28.5724 | 77.2686 | Work in Progress | Proposed Okhla STP | Agra Canal | Partial trap (9-10 MLD) into C.V. Raman Marg trunk sewer completed; balance flow via Barapullah scheme. Expected Dec-2025.
19 | Abul Fazal Drain | MCD | 7 | 1.54 |  | 7.7 | 31 | 267 | 92 | 6.9 | 94 | 116 | 48 |  | 98 | 120 | 50 | 28.5458 | 77.2983 | To be tapped | Proposed Okhla STP | Agra Canal | Sewage to be tapped after completion of Batla House Sewage Scheme. Timeline: Jun-2025. | Jul-26 pH truncated in scan (June value 6.9).
20 | Shahdara Drain | I&FC Dept (GNCTD) | 475.2 | 104.66 | 160.8 | 7.9 | 172 | 342 | 112 | 7.5 | 244 | 276 | 115 | 7.5 | 240 | 280 | 125 | 28.5589 | 77.3208 | Work in Progress (large drain; not feasible to tap whole) | Covered under ISP for sub-drain tapping | River Yamuna | ~105 MGD total discharge; 50 MGD (45%) untreated sewage from UP via Sahibabad, Indirapuri & Banthala drains. 230 sub-drains; 2 untrapped (to be trapped). | DJB May-2026 flow (HT): 160.8 MGD. HT Dec-2025: Sahibabad sub-drain worst (BOD 145, COD 416, TSS 200).
21 | IRME / RD-180 Drain | Not in NMCG Annexure-3 | [7 empty] | 6.9 | 180 | 208 | 85 | 6.9 | 170 | 200 | 80 | 28.5082 | 77.32 | Not in DPCC Apr-25 status list | Not listed | River Yamuna (outfall) | Monitored by DPCC (RD-180 chainage drain, Agra Canal alignment). | Listed in DPCC monitoring only. Possibly corresponds to Tehkhand Drain in NMCG list (unverified). Coords from DPCC.
22 | Jaitpur Drain | MCD | 5.68 | 1.25 |  | 7.3 | 150 | 332 | 120 | 7.1 | 124 | 168 | 70 | 7.1 | 126 | 160 | 75 | 28.5419 | 77.3083 | To be tapped | Proposed Okhla STP | Agra Canal | Sewage to be tapped after Madanpur Khadar GOC scheme (by Dec-2025). Timeline: Dec-2026.

## Agra Canal & Hindon Cut
S.No | Drain | Report Sheet | pH (06.07.2026) | TSS (06.07.2026) | COD (06.07.2026) | BOD (06.07.2026) | Latitude | Longitude | Notes
1 | Agra Canal Jaitpur Drain | Jul-26: Drains falling into Agra Canal & Hindon Cut |  |  |  |  | 28.5625 | 77.2915 | Sampled 06.07.2026. Jun-26: TSS 128, COD 268.
2 | LPG Bottling Plant Drain | Jul-26: Agra Canal |  |  |  |  | 28.5378 | 77.3059 | NO FLOW (06.07.2026 & 03.06.2026).
3 | Sarita Vihar Pool Drain | Jul-26: Agra Canal |  |  |  |  | 28.5424 | 77.3091 | Jun-26: TSS 114, COD 156. Jul-26: TSS 122, COD 152.
4 | Drain near Sarita Vihar Bridge | Jul-26: Agra Canal |  |  |  |  | 28.5251 | 77.2923 | NO FLOW (06.07.2026 & 03.06.2026).
5 | Tuglakabad Drain (Kalka Ji Drain merged) | Jul-26: Agra Canal |  |  |  |  | 28.5114 | 77.3 | NO FLOW at outfall 06.07.2026. NMCG Mar-25: 25.05 MLD (5.51 MGD), pH 7.5, TSS 258, COD 213, BOD 70 at 28.5419317, 77.3082674; Untapped -> Okhla STPs -> Agra Canal; DJB states tapped flow received at Tuglakabad SPS, pumped to Okhla STP.
6 | Hindon Cut | Jul-26: Agra Canal & Hindon Cut | 7.2 | 52 | 80 | 30 | 28.5859 | 77.3 | pH 7.2, TSS 52, COD 80, BOD 30 (06.07.2026). Monitored as separate entry.

## Cross-Reference
NMCG Annexure-3 S.No | Drain (NMCG Mar-25) | Flow MLD (DJB) | Flow MGD | Status (NMCG) | Status (DPCC Apr-25) | Equivalent in Main Sheet
1 | Metcalf House Drain | 17.25 | 3.79 | Tapped | Tapped | Metcalf House Drain
2 | Khyber Pass Drain | 1.7 | 0.37 | Tapped | Tapped | Khyber Pass Drain
3 | Sweeper Colony Drain | 8.6 | 1.89 | Tapped | Tapped | Sweeper Colony Drain
4 | Magazine Road Drain | 7.8 | 1.72 | Tapped | Tapped | Magazine Road Drain
5 | Tonga Stand Drain | 7.8 | 1.72 | Tapped | Tapped | Tonga Stand Drain
6 | Civil Mill Drain | 14.68 | 3.23 | Tapped | Tapped | Civil Mill Drain
7 | Moat Drain (Vijay Ghat) |  |  | Dry - Tapped | Tapped | Moat Drain (Vijay Ghat)
8 | Drain No. 14 | 25.87 | 5.69 | Tapped | Tapped | Drain No. 14
9 | Tehkhand Drain | 39.74 | 8.74 | Tapped (No Flow) | Tapped | NOT in DPCC Yamuna-22 monitoring; see note
10 | Tuglakabad Drain (Kalka Ji merged) | 25.05 | 5.51 | Untapped -> Okhla STPs | Tapped | Agra Canal sheet
11 | Abul Fazal Drain | 7 | 1.54 | Untapped | To be tapped | Abul Fazal Drain
12 | Sen Nursing Home Drain | 43.2 | 9.5 | Partially tapped | Partially Tapped | Sen Nursing Home Drain
13 | Delhi Gate Drain / Power House Drain | 122.58 | 26.96 | Partially tapped | Partially Tapped | Power House / Delhi Gate Drain
14 | ISBT Drain (Qudsia Bagh / Mori Gate) | 43.2 | 9.51 | Untapped | Work in Progress | ISBT Drain
15 | Sonia Vihar Drain | 27.24 | 5.99 | Untapped | Work in Progress | Sonia Vihar Drain
16 | Kailash Nagar Drain | 13.62 | 3 | Untapped | To be tapped | Kailash Nagar Drain
17 | Shastri Park Drain | 5.45 | 1.2 | Untapped | To be tapped | Shastri Park Drain
18 | Barapulla Drain | 145.15 | 31.97 | Untapped | Work in Progress | Barapulla Drain
19 | Maharani Bagh Drain | 30.24 | 6.65 | Untapped | Work in Progress | Maharani Bagh Drain
20 | Jaitpur Drain | 5.68 | 1.25 | Untapped | To be tapped | Jaitpur Drain
21 | Najafgarh Drain (I&FC) | 2056.32 | 452.34 | Large drain, not feasible to tap; ISP for sub-drains | Work in Progress | Najafgarh Drain
22 | Shahdara Drain (I&FC) | 475.2 | 104.66 | Large drain, not feasible to tap; ISP for sub-drains | Work in Progress | Shahdara Drain
Note: DPCC Jul-26 monitoring lists 22 drains into River Yamuna incl. 'Drain No. 12A' and 'IRME/RD-180', and excludes Tehkhand & Tuglakabad (Tuglakabad listed under Agra Canal sheet). Main sheet follows the DPCC Jul-26 list (user-confirmed canonical set). IRME/RD-180 may correspond to Tehkhand Drain (unverified).

## Key Facts & Standards
Standards (DPCC) | pH 5.5-9.0 ¦ TSS 100 mg/l ¦ COD 250 mg/l ¦ BOD 30 mg/l (for drains into Yamuna)
Canonical set | 22 drains outfalling into River Yamuna (Delhi), per DPCC report DPCC/W/D/2026/223-244//3039 (sampled 06.07.2026)
Tapping status (DPCC Apr-25) | 10 tapped ¦ 2 partially tapped (Sen Nursing Home, Delhi Gate/Power House) ¦ 6 work in progress ¦ 4 to be tapped (Kailash Nagar, Shastri Park, Jaitpur, Abul Fazal)
NMCG Mar-25 (Annexure-3) | 09 tapped, 02 partially tapped, 02 large (Najafgarh, Shahdara - not feasible to tap whole), remaining untapped/WIP
Total discharge (DJB May-26, via HT) | 1,324.4 MGD across drains (vs 750.4 MGD earlier; +76%). Najafgarh 862, Shahdara 160.8, Barapullah 151.61, Delhi Gate/Power House 86.68, Sen Nursing Home 26.35 MGD.
HT Dec-2025 (27 drains assessed) | 26 of 27 failed norms; only Shastri Park met; worst: Sahibabad sub-drain (BOD 145, COD 416, TSS 200); 10 drains no-flow/tapped.
Biggest pollution load | Najafgarh Drain (453 MGD incl. 105 MGD untreated from Haryana) and Shahdara Drain (50 MGD untreated from UP via Sahibabad/Indirapuri/Banthala).
Data quality notes | DPCC Jun-26 & Jul-26 PDFs are scans; values transcribed by coordinate-position reconstruction. Jul-26 cells marked in notes where scan cut off (Metcalf House pH/BOD; ISBT TSS; Abul Fazal pH). Flow figures: NMCG/DJB Mar-25 vs DJB May-26 (HT) differ - use latest where needed.

## Sources
Key | Source | URL / Location | Used For
S1 | DPCC - Waste Water Quality Status of Drain (Drains outfalling into River Yamuna), Report No. DPCC/W/D/2026/223-244//3039, sampled 06.07.2026 | Local: C:\Users\agile\AppData\Local\Temp\opencode\yamuna\drain_jul26.pdf | WQ 06.07.2026 for all 22 drains + Agra Canal/Hindon Cut entries
S2 | DPCC - Waste Water Quality Status of Drain (Directly discharging into River Yamuna), Report No. DPCC/W/D/2026/200-222//, sampled 03.06.2026 | Local: C:\Users\agile\AppData\Local\Temp\opencode\yamuna\drain_jun26.pdf | WQ 03.06.2026 for all 22 drains + NO FLOW flags
S3 | NMCG - Delhi MPR March 2025, Annexure-3 'Information about 22 Drains out falling into River Yamuna...' (WQ 05.03.2025, flows as per DJB, status, STP, timeline, coordinates) | http://nmcg.nic.in/writereaddata/fileupload/ngtmpr/51_Delhi%20-%20MPR%20March%202025.pdf | Flows (MLD/MGD), WQ 05.03.2025, tapping status, STP/endpoint, timelines, sampling coords
S4 | DPCC/NMCG - 'Progress in Rejuvenation of River Yamuna' (Apr-2025), Tapping of Drains status table (10 tapped / 2 partial / 6 WIP / 4 to be tapped) | https://environment.delhi.gov.in/node/13811 | Status of Drain column (cross-check)
S5 | Hindustan Times - '26 of 27 Yamuna-bound drains fail water quality norms: DPCC' (16 Dec 2025) - DJB May-2026 revised discharge figures | https://www.hindustantimes.com/cities/delhi-news/26-of-27-yamuna-bound-drains-fail-water-quality-norms-dpcc-101765823065541.html | DJB May-26 flows (Najafgarh 862, Shahdara 160.8, Barapullah 151.61, Delhi Gate 86.68, Sen NH 26.35 MGD); 26/27 fail
S6 | HT Dec-2025 DPCC table (via feedzop summary) - 27 drains, only Shastri Park met norms; Sahibabad worst (BOD 145/COD 416/TSS 200) | https://www.feedzop.com/en-us/news/environment/yamuna-river-pollution-delhi-latest-dpcc-report | Cross-check of Dec-2025 findings